## Slide 1: Smart grid primer
A look at energy grid modernization and an overview of smart grid legislation
August 13, 2018
Producer
Sean Lambert
Director
Alistair Taylor

## Slide 2
Sean Lambert | Slide last updated on: July 30, 2018
Background
The US electric grid was built in the 1890s
The grid has more than 9,200 electric generating units
Its generating capacity is more than 1 million megawatts
It has more than 300,000 miles of transmission lines
Sources: “What is the Smart Grid?” Smartgrid.gov
What is the smart grid?
Computers
Automation
Equipment
Controls
Like the internet, the smart grid will involve different technologies and mechanisms working together to respond digitally to quickly changing electrical demand
What makes a grid smart?
Digital technology
Two-way communication between a utility and its customers
Sensors along transmission lines

## Slide 3
Sean Lambert | Slide last updated on: July 30, 2018
Sources: “What is the smart grid?” Smartgrid.gov.
What does a smart grid do?
More resilient to disruptions due to weather and natural disasters
Improved security
Better integration of customer-owner power generation systems and renewable energy systems
Increased integration of large-scale renewable energy systems
Quicker restoration of electricity after power disturbances
More efficient transmission of electricity
Reduced operations and management costs for utilities
Reduced peak demand, which will also help lower electricity rates

## Slide 4
Sean Lambert | Slide last updated on: August 7, 2018
Sources: “Consumer engagement,” Smartgrid.gov.
Consumer benefits of the smart grid
Economics
National security
Renewable energy goals
Cheaper electricity
Smart meters
“Smart meters” will let customers see how much electricity they use, when they use it and the cost
The meters will come with real-time pricing
They will allow customers to save power when electricity is most expensive
In-home generators
In-home generators will allow consumers to save money by generating their own power
This will help them manage their electricity usage with greater autonomy, saving money

## Slide 5
Sean Lambert | Slide last updated on: August 7, 2018
Sources: Plug-in electric vehicles,” Smartgrid.gov.
Plug-in electric vehicles could function as a distributed source of energy
“Vehicle to Grid”
PEVs will play an important part in balancing the smart grid by serving as a distributed source of stored energy
By drawing on batteries plugged in throughout the smart grid, a utility can inject extra power into the grid at critical moments
This has the potential to reduce brownouts or rolling blackouts
PEVs can keep parts of the grid operating during blackouts
They can also help integrate wind and solar power into the grid

## Slide 6
Sean Lambert | Slide last updated on: August 7, 2018
Sources: “The Smart Home,” Smartgrid.gov.
The smart home will give consumers greater control over their home energy use
Home energy management systems
Smart meters will allow for interface between consumers and their energy providers
These can help consumers cut energy costs, and provide real-time updates about how much energy consumers are using
Smart appliances
Appliances will be networked together in the smart home, which will help consumers keep track of how much energy all their appliances are using at all times
Smart appliances will also respond to signals from energy providers to avoid using energy during times of peak demand, reducing stress on the grid
Home power generation
Rooftop solar electricity systems, wind turbines, and small hydropower systems are just some of the ways that consumers will be able to generate power at home using the smart grid

## Slide 7
Smart grid legislation to watch
Sources: National Journal research; Congress.gov.
H.R. 2479: Leading Infrastructure for Tomorrow’s America Act
Sponsor: Frank Pallone, Jr. (D-NJ)
Authorizes appropriations to improve infrastructure, with provisions for modernizing the energy grid
Differences
resolved
Passed House
Passed Senate
Passed committee
Passed committee
Introduced in House
5/17/17
Received in Senate
Signed
into law
H.R. 3275: Water and Energy Sustainability Through Technology Act
Sponsor: Jerry McNerney (D-CA)
Begins a smart energy and water efficiency pilot program that makes use of smart meters
Differences
resolved
Passed House
Passed Senate
Passed committee
Passed committee
Introduced in House
7/17/17
Received in Senate
Signed
into law
S. 1874: Distributed Energy Demonstration Act of 2017
Sponsor: Ron Wyden (D-OR)
Reauthorizes the DOE’s grant program for smart grid investments through FY2025
Differences
resolved
Passed House
Passed Senate
Passed committee
Passed committee
Received in House
Introduced in Senate
9/27/17
Signed
into law
Slide last updated on August 7, 2018